# Drylogs Install Workflow Guide

# TECH USER: Complete an Install

Login: Open app → Enter email/password → Sign In

Start: Find job in Preinstall phase → Click "Start Install"

## Workflow Steps (1-14)

1. Office Prep (Optional) - Review job details → Continue

2. Arrival - Enter arrival time → Take truck & property photos → Record exterior environmental baseline (temp, RH%, meter photo) → Continue

3. Customer Intro - Complete checklist (intro, walkthrough, utilities) → Mark concerns → Continue

4. Cause of Loss - Select water source type & category → Take damage photos → Continue

5. Unaffected Area Baseline - Add 1-2 unaffected rooms (dry standard) → Record dimensions, moisture, photos → Continue

6. Room Assessment - For each affected room: Basic Info (name, dimensions, affected areas) | Moisture (readings + photos) | Materials (check to remove) | Pre-existing (damage) | Photos (min 4) → Save room, repeat

7. Drying Chambers - Create chambers → Assign affected & baseline rooms → Save

8. Partial Demo (Optional) - Log materials removed + photos (skip if no demo)

9. Equipment - Review calculated needs → Scan/place equipment (optional)

10. Billable Work (Optional) - Add extra services (skip if none)

11. Final Photos + Equipment - For each room: Photos Tab (4+ photos) + Equipment Tab (dehumidifier inlet/outlet temp & RH, amperage, photo | air mover status & amperage) → Complete all rooms

12. Schedule - Add future monitoring visits with dates/types → Save

13. Communicate Plan - Review on-screen plan with customer → Continue

14. Complete - Enter departure time → Add notes (optional) → Click 'Complete Install Workflow'

Result: Job moves to next phase, returns to Tech Dashboard

________________________________________________________________________________

# PSM USER: View Initial Report

Login: Enter PSM credentials → Sign In

Access Dashboard: Click "PSM Dashboard" in navigation

Generate Report: Find completed job → Click "Generate Initial Inspection Report" button (only appears after install complete) → Report opens (logo, room details, moisture, materials, equipment)

Use Report: Print | Save as PDF (Print → Save as PDF) | Email to customer/adjuster

________________________________________________________________________________

Questions? Contact your supervisor or IT support.